## Sheet1
Fault 2022-03-01 06:37:15
Fault Number | Trade | Trade Category | Type of Fault | Impact | Site | Building | Floor | Room | Cancel Status | Reported Date | Fault Acknowledged Date | Responded on Site Date | RA Conducted Date | Work Started Date | Work Completed Date | Attended By | Action(s) Taken | Other Trades Required Date | Cost Cap Exceed Date | Assistance Requested Date | Fault Reference | End User Name | End User Priority | End User Contact | Incident Report | Reported By | Remarks
FID8905 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 1 | 19 | Wing B |  | 2022-02-28 16:53:41 | [15 empty] | Cindy Ngoh
FID8904 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 1 | 15 | Wing B |  | 2022-02-28 16:51:53 | [15 empty] | Cindy Ngoh
FID8903 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 1 | 15 | Wing A |  | 2022-02-28 16:51:07 | [15 empty] | Cindy Ngoh
FID8902 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 1 | 10 | Wing B |  | 2022-02-28 16:47:42 | [15 empty] | Cindy Ngoh
FID8901 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 1 | 10 | Wing A |  | 2022-02-28 16:46:57 | [15 empty] | Cindy Ngoh
FID8900 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 1 | 01 | People Room |  | 2022-02-28 16:42:56 | [15 empty] | Cindy Ngoh
FID8861 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 5 | 10 | Wing A |  | 2022-02-28 10:09:58 | 2022-02-28 10:18:52 | 2022-02-28 10:19:07 | 2022-02-28 10:19:23 | 2022-02-28 10:19:38 | 2022-02-28 10:20:14 | Cindy Ngoh | tube replaced | [8 empty] | Cindy Ngoh
FID8860 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 5 | 10 | Wing B |  | 2022-02-28 10:09:14 | 2022-02-28 10:20:50 | 2022-02-28 10:21:06 | 2022-02-28 10:21:25 | 2022-02-28 10:21:41 | 2022-02-28 10:25:47 | Cindy Ngoh | Done | [8 empty] | Cindy Ngoh
FID8859 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 5 | 11 | Wing B |  | 2022-02-28 10:06:38 | 2022-02-28 10:45:15 | 2022-02-28 10:45:35 | 2022-02-28 10:47:02 | 2022-02-28 10:47:17 | 2022-02-28 10:48:13 | Cindy Ngoh | T8 8w LED 5 nos. replaced | [8 empty] | Cindy Ngoh
FID8857 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 5 | 11 | Wing A |  | 2022-02-28 10:05:42 | 2022-02-28 10:42:15 | 2022-02-28 10:42:30 | 2022-02-28 10:43:00 | 2022-02-28 10:43:15 | 2022-02-28 10:43:36 | Cindy Ngoh | tube replaced | [8 empty] | Cindy Ngoh
FID8852 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 5 | 13 | Wing A |  | 2022-02-28 09:50:27 | 2022-02-28 09:51:18 | 2022-02-28 09:51:49 | 2022-02-28 09:52:04 | 2022-02-28 09:52:27 | 2022-02-28 09:53:37 | Cindy Ngoh | tube replaced | [8 empty] | Cindy Ngoh
FID8850 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 5 | 13 | Wing B |  | 2022-02-28 09:42:30 | 2022-02-28 09:43:29 | 2022-02-28 09:43:44 | 2022-02-28 09:43:58 | 2022-02-28 09:44:23 | 2022-02-28 09:44:38 | Cindy Ngoh | T5l13 replaced led t8 lighting. | [8 empty] | Cindy Ngoh
FID8848 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 5 | 13 | Wing B |  | 2022-02-28 09:34:59 | 2022-02-28 09:35:51 | 2022-02-28 09:36:10 | 2022-02-28 09:36:24 | 2022-02-28 09:37:06 | 2022-02-28 09:37:27 | Cindy Ngoh | replaced |  |  |  |  | Vivien Chua |  |  |  | Cindy Ngoh
FID8845 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 1 | 10 | Wing A |  | 2022-02-28 09:25:25 | 2022-02-28 09:25:58 | 2022-02-28 09:26:12 | 2022-02-28 09:26:26 | 2022-02-28 09:26:40 | 2022-02-28 09:26:56 | Cindy Ngoh | T1l10 rewiring done | [8 empty] | Cindy Ngoh
FID8749 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 1 | 26 | Wing A |  | 2022-02-25 14:51:13 | 2022-02-25 15:46:04 | 2022-02-25 15:49:15 | 2022-02-25 15:59:39 | 2022-02-25 15:59:59 | 2022-02-28 09:39:15 | Cindy Ngoh | Replaced t5 14w 3 no's |  |  |  |  | Mika |  |  |  | Cindy Ngoh
FID8676 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 5 | 08 | Wing B |  | 2022-02-24 15:32:24 | 2022-02-25 15:08:30 | 2022-02-25 15:09:03 | 2022-02-25 15:09:31 | 2022-02-25 15:09:48 | 2022-02-25 15:10:36 | Lee Shi Ting | replaced tubes | [8 empty] | Cindy Ngoh
FID8675 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 5 | 09 | Wing B |  | 2022-02-24 15:30:40 | 2022-02-25 15:01:06 | 2022-02-25 15:01:26 | 2022-02-25 15:01:40 | 2022-02-25 15:02:00 | 2022-02-25 15:04:10 | Lee Shi Ting | replaced tubes | [8 empty] | Cindy Ngoh
FID8674 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 5 | 09 | Wing A |  | 2022-02-24 15:29:56 | 2022-02-25 15:04:15 | 2022-02-25 15:04:31 | 2022-02-25 15:04:47 | 2022-02-25 15:05:06 | 2022-02-25 15:05:27 | Lee Shi Ting | replaced tubes | [8 empty] | Cindy Ngoh
FID8652 | Building | Ceiling | Dirty / Odour | Localised to room | Connection One | Tower 1 | 27 | Wing B |  | 2022-02-24 11:42:01 | 2022-02-24 11:43:43 | 2022-02-28 09:19:38 | 2022-02-28 09:19:52 | 2022-02-28 09:20:06 | 2022-02-28 09:20:23 | Cindy Ngoh | L27 chairman's room painting done. | [8 empty] | Cindy Ngoh
FID8649 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 1 | 23 | Wing B |  | 2022-02-24 11:38:48 | 2022-02-24 11:39:21 | [14 empty] | Cindy Ngoh
FID8646 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 1 | 26 | Wing B |  | 2022-02-24 11:35:02 | 2022-02-24 11:35:23 | 2022-02-28 09:21:57 | 2022-02-28 09:22:11 | 2022-02-28 09:22:24 | 2022-02-28 09:22:39 | Cindy Ngoh | T1l26 t5 lighting rewiring done. | [8 empty] | Cindy Ngoh
FID8633 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 1 | 27 | Wing B - Chairman Toilet |  | 2022-02-24 09:59:59 | 2022-02-24 10:00:33 | 2022-02-24 10:00:49 | 2022-02-24 10:01:29 | 2022-02-24 10:02:47 | 2022-02-24 10:03:09 | Cindy Ngoh | light tube replaced | [8 empty] | Cindy Ngoh
FID8626 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 1 | 26 | Wing B |  | 2022-02-24 09:31:50 | 2022-02-24 09:32:31 | 2022-02-24 09:32:51 | 2022-02-24 09:33:46 | 2022-02-24 09:34:00 | 2022-02-24 09:34:27 | Cindy Ngoh | Replaced light tubes | [8 empty] | Cindy Ngoh
FID8625 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 1 | 23 | Wing B |  | 2022-02-24 09:26:09 | 2022-02-24 09:26:27 | 2022-02-24 09:26:42 | 2022-02-24 09:27:54 | 2022-02-24 09:28:08 | 2022-02-24 09:29:01 | Cindy Ngoh | replaced light tubes | [8 empty] | Cindy Ngoh
FID8585 | Office and Furniture | Telephone | No dial tone / not connected | Localised to room | Connection One | Tower 1 | 23 | Wing A |  | 2022-02-23 17:19:52 | 2022-02-23 17:20:16 | 2022-02-23 17:20:30 | 2022-02-23 17:20:49 | 2022-02-23 17:21:04 | 2022-02-23 17:21:53 | Cindy Ngoh | cable connection inside CDR room |  |  |  |  | Clarice Lyu |  |  |  | Cindy Ngoh
FID8501 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 1 | 10 | Wing A |  | 2022-02-23 08:55:55 | 2022-02-23 09:16:54 | 2022-02-23 09:17:10 | 2022-02-23 09:18:17 | 2022-02-23 09:18:34 | 2022-02-23 09:19:00 | Cindy Ngoh | T5 28w 4 nos replaced |  |  |  |  | Pauline Ng |  |  |  | Cindy Ngoh
FID8479 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 5 | 09 | Wing A |  | 2022-02-22 14:53:21 | 2022-02-22 15:51:06 | 2022-02-22 15:51:21 | 2022-02-22 15:51:37 | 2022-02-22 15:51:55 | 2022-02-22 15:52:13 | Cindy Ngoh | Replace the LED light |  |  |  |  | Khoo Shin Dih |  |  |  | Cindy Ngoh
FID8402 | Building | Water Dispenser | Other: not dispenser cold water | Localised to room | Connection One | Tower 5 | 08 | Wing A - Pantry 1 |  | 2022-02-21 13:56:33 | 2022-02-21 13:56:51 | 2022-02-21 13:57:04 | 2022-02-21 13:57:17 | 2022-02-21 13:57:31 | 2022-02-21 13:57:58 | Cindy Ngoh | Cold water cylinder Totally full ice machine Today off | [8 empty] | Cindy Ngoh
FID8400 | Building | Water Dispenser | Other: no hot/cold water from the dispenser | Localised to room | Connection One | Tower 5 | 09 | Wing A - Pantry |  | 2022-02-21 13:51:48 | 2022-02-21 13:52:53 | 2022-02-21 13:53:21 | 2022-02-21 13:53:37 | 2022-02-21 13:53:53 | 2022-02-21 13:54:27 | Cindy Ngoh | Valve stuck adjusted |  |  |  |  | Jenny Ho |  |  |  | Cindy Ngoh
FID8399 | Electrical | Light Switches | Cracked / damaged | Localised to room | Connection One | Tower 1 | 20 | Wing B |  | 2022-02-21 13:45:41 | 2022-02-21 13:45:57 | 2022-02-21 13:46:14 | 2022-02-21 13:46:28 | 2022-02-21 13:46:45 | 2022-02-21 13:47:01 | Cindy Ngoh | replaced | [8 empty] | Cindy Ngoh
FID8398 | Plumbing & Sanitary | Tap | Leaking | Localised to room | Connection One | Tower 5 | 09 | Wing A - Pantry |  | 2022-02-21 13:42:36 | 2022-02-21 13:42:58 | 2022-02-21 13:43:13 | 2022-02-21 13:43:27 | 2022-02-21 13:43:41 | 2022-02-21 13:43:56 | Cindy Ngoh | hot water tap replaced |  |  |  |  | Cheah Soo Noy |  |  |  | Cindy Ngoh
FID8122 | Electrical | Light Fitting | Tripped / Short-Circuit / Overloaded | Localised to room | Connection One | Tower 1 | 23 | Wing B |  | 2022-02-17 10:15:31 | 2022-02-18 09:54:28 | 2022-02-21 14:02:55 | 2022-02-21 14:03:13 | 2022-02-21 14:03:46 | 2022-02-21 14:04:14 | Cindy Ngoh | reset | [8 empty] | Lee Shi Ting
FID8120 | Electrical | Light Fitting | Tripped / Short-Circuit / Overloaded | Localised to room | Connection One | Tower 1 | 22 | Wing B |  | 2022-02-17 10:13:53 | 2022-02-17 10:16:55 | 2022-02-17 10:17:14 | 2022-02-17 10:17:26 | 2022-02-17 10:17:48 | 2022-02-17 10:19:58 | Lee Shi Ting | reset done | [8 empty] | Lee Shi Ting
FID8038 | Electrical | Light Fitting | Tripped / Short-Circuit / Overloaded | Localised to room | Connection One | Tower 1 | 22 | Wing B |  | 2022-02-16 12:03:03 | 2022-02-16 12:03:28 | 2022-02-16 12:03:57 | 2022-02-16 12:04:16 | 2022-02-16 12:04:31 | 2022-02-16 12:05:12 | Cindy Ngoh | Reset RCCB |  |  |  |  | Alice LIm |  |  |  | Cindy Ngoh
FID8037 | Cleaning | Empty Toilet Paper Roll | Other: battery very weak | Localised to room | Connection One | Tower 5 | 10 | Wing A - Female Toilet |  | 2022-02-16 11:58:14 | 2022-02-16 11:58:35 | 2022-02-16 11:58:49 | 2022-02-16 11:59:01 | 2022-02-16 11:59:15 | 2022-02-16 11:59:44 | Cindy Ngoh | change battery |  |  |  |  | Connie Goh |  |  |  | Cindy Ngoh
FID8036 | Plumbing & Sanitary | Tap | Leaking | Localised to room | Connection One | Tower 1 | 22 | Wing B - Pantry 2 |  | 2022-02-16 11:52:20 | 2022-02-16 11:52:50 | 2022-02-16 11:53:04 | 2022-02-16 11:53:26 | 2022-02-16 11:53:42 | 2022-02-16 11:54:01 | Cindy Ngoh | 22 wing B pantry hot water tap replaced | [8 empty] | Cindy Ngoh
FID8035 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 1 | 20 | Wing A - MR 20-1 |  | 2022-02-16 11:43:46 | 2022-02-16 11:44:05 | 2022-02-16 11:44:27 | 2022-02-16 11:45:59 | 2022-02-16 11:46:13 | 2022-02-16 11:46:32 | Cindy Ngoh | Replaced PLC 13w 4p 2 no's | [8 empty] | Cindy Ngoh
FID8034 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 5 | 08 | Wing A |  | 2022-02-16 11:40:25 | 2022-02-16 11:40:53 | 2022-02-16 11:41:08 | 2022-02-16 11:41:26 | 2022-02-16 11:41:40 | 2022-02-16 11:41:57 | Cindy Ngoh | Replace the LED light done |  |  |  |  | Maria TAN Chong Ling |  |  |  | Cindy Ngoh
FID7984 | Electrical | Socket | Tripped / Short-Circuit / Overloaded | Localised to room | Connection One | Tower 1 | 22 | Wing B |  | 2022-02-15 16:28:13 | 2022-02-15 16:28:32 | 2022-02-15 16:28:54 | 2022-02-15 16:29:10 | 2022-02-15 16:29:38 | 2022-02-15 16:30:04 | Cindy Ngoh | MCB trip reset back to normal |  |  |  |  | Alice Lim |  |  |  | Cindy Ngoh
FID7982 | Electrical | Socket | Tripped / Short-Circuit / Overloaded | Localised to room | Connection One | Tower 1 | 19 | Wing A |  | 2022-02-15 16:21:47 | 2022-02-15 16:22:24 | 2022-02-15 16:22:41 | 2022-02-15 16:22:57 | 2022-02-15 16:23:13 | 2022-02-15 16:23:33 | Cindy Ngoh | MCB trip reset back to normal |  |  |  |  | Nurul Afiqah BINTE JAMAL |  |  |  | Cindy Ngoh
FID7980 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 1 | 19 | Wing A - MR 19-1 |  | 2022-02-15 16:04:23 | 2022-02-15 16:31:43 | 2022-02-15 16:32:11 | 2022-02-15 16:33:10 | 2022-02-15 16:33:45 | 2022-02-15 16:34:15 | Cindy Ngoh | Replace the plc light 18w 4p 2nos done | [8 empty] | Cindy Ngoh
FID7866 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 5 | 09 | Wing A |  | 2022-02-14 14:30:22 | 2022-02-14 14:34:38 | 2022-02-14 14:41:32 | 2022-02-14 14:45:56 | 2022-02-14 14:46:08 | 2022-02-14 14:46:35 | Lee Shi Ting | replaced LED tubes |  |  |  |  | Khoo Shin Dih |  |  |  | Lee Shi Ting
FID7827 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 1 | 22 | Wing A |  | 2022-02-14 10:24:12 | 2022-02-14 10:24:32 | 2022-02-14 10:24:44 | 2022-02-14 10:24:56 | 2022-02-14 10:29:53 | 2022-02-14 10:30:42 | Lee Shi Ting | replaced tubes |  |  |  |  | Karine |  |  |  | Lee Shi Ting
FID7817 | Mechanical | Air Conditioning System | Other: not working | Localised to room | Connection One | Tower 4 | Collaboration Hub | Collab Hub - VR Cave |  | 2022-02-14 09:11:06 | 2022-02-14 09:12:01 | 2022-02-14 09:12:41 | 2022-02-14 09:13:14 | 2022-02-14 09:14:47 | 2022-02-14 09:15:37 | Lee Shi Ting | replaced faulty belt | [8 empty] | Lee Shi Ting
FID7810 | Electrical | Light Fitting | Tripped / Short-Circuit / Overloaded | Localised to room | Connection One | Tower 1 | 23 | Wing B |  | 2022-02-14 08:48:19 | 2022-02-14 08:48:48 | 2022-02-14 08:49:18 | 2022-02-14 08:49:30 | 2022-02-14 08:49:48 | 2022-02-14 08:50:36 | Lee Shi Ting | reset rccb | [8 empty] | Lee Shi Ting
FID7809 | Electrical | Light Fitting | Tripped / Short-Circuit / Overloaded | Localised to room | Connection One | Tower 1 | 22 | Wing A |  | 2022-02-14 08:44:11 | 2022-02-14 08:44:59 | 2022-02-14 08:45:18 | 2022-02-14 08:45:40 | 2022-02-14 08:45:55 | 2022-02-14 08:46:38 | Lee Shi Ting | 15Y MCB unable to reset, to continue monitoring | [8 empty] | Lee Shi Ting
FID7604 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 5 | 08 | Wing B |  | 2022-02-10 12:07:06 | 2022-02-10 12:07:25 | 2022-02-10 12:07:39 | 2022-02-10 12:07:53 | 2022-02-10 12:08:07 | 2022-02-10 12:08:25 | Cindy Ngoh | Replaced led t8 long light . | [8 empty] | Cindy Ngoh
FID7574 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 1 | 27 | Wing A |  | 2022-02-10 08:27:06 | 2022-02-10 08:45:32 | 2022-02-10 09:29:29 | 2022-02-10 09:29:44 | 2022-02-10 09:30:00 | 2022-02-10 09:30:23 | Cindy Ngoh | Replace led 5w E27 done. | [8 empty] | Cindy Ngoh
FID7494 | Cleaning | Empty Toilet Paper Roll |  | Localised to room | Connection One | Tower 5 | 10 | Wing A - Female Toilet |  | 2022-02-09 10:49:27 | 2022-02-09 11:02:07 | 2022-02-09 12:16:58 | 2022-02-09 12:17:34 | 2022-02-09 12:17:48 | 2022-02-09 12:18:07 | Cindy Ngoh | done | [8 empty] | Toilet
FID7420 | Public Reporting | Others | NA | Affecting Public | Connection One | Tower 1 | 10 | Wing A - Female Toilet |  | 2022-02-08 12:12:09 | 2022-02-08 15:14:17 | 2022-02-08 15:15:23 | 2022-02-08 15:15:46 | 2022-02-08 15:16:13 | 2022-02-08 15:16:33 | Cindy Ngoh | done by cleaner |  |  |  |  | Shumin |  | 98233981 |  | Public | Tissue Dispenser malfunctioning. Sensor detector and button both not working.
FID7410 | Public Reporting | Cleaning | NA | Affecting Public | Connection One | Tower 1 | 10 |  | approved | 2022-02-08 11:02:18 | [11 empty] | Test |  | +651111111 |  | Public | Not clean
FID7327 | Electrical | Light Fitting | Tripped / Short-Circuit / Overloaded | Localised to room | Connection One | Tower 1 | 23 | Wing B |  | 2022-02-07 10:14:41 | 2022-02-07 10:17:50 | 2022-02-07 10:18:05 | 2022-02-07 10:18:20 | 2022-02-07 10:18:34 | 2022-02-07 10:19:02 | Cindy Ngoh | reset RCCB | [8 empty] | Cindy Ngoh
FID7207 | Safe Management Measures | Safe Distance Marking (Workstation, Pantry, Common Area) | Other: Damaged | Localised to room | Connection One | Tower 1 | 21 | Wing B |  | 2022-02-04 16:40:38 | 2022-02-04 16:40:57 | 2022-02-04 16:41:11 | 2022-02-04 16:41:24 | 2022-02-04 16:41:38 | 2022-02-04 16:42:31 | Cindy Ngoh | replaced |  |  |  |  | ISO team |  |  |  | Cindy Ngoh
FID7199 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 5 | 10 | Wing A - Female Toilet |  | 2022-02-04 14:58:48 | 2022-02-07 10:05:01 | 2022-02-07 10:05:17 | 2022-02-07 10:06:27 | 2022-02-07 10:06:43 | 2022-02-07 10:07:29 | Cindy Ngoh | Replaced PLC 2p 18w 1 no's done | [8 empty] | Cindy Ngoh
FID7198 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 1 | 21 | Wing A |  | 2022-02-04 14:57:06 | 2022-02-04 15:33:31 | 2022-02-04 15:33:47 | 2022-02-04 15:34:56 | 2022-02-04 15:35:14 | 2022-02-04 15:35:44 | Cindy Ngoh | Replaced T5 28w 2nos light tube |  |  |  |  | Ler Bee Tin |  |  |  | Cindy Ngoh
FID7124 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 1 | 23 | Wing B |  | 2022-02-03 15:43:57 | 2022-02-03 16:07:49 | 2022-02-03 16:08:05 | 2022-02-03 16:09:08 | 2022-02-03 16:09:36 | 2022-02-03 16:09:54 | Cindy Ngoh | Replaced t5 28w 2 no's done. |  |  |  |  | Foo Siew Mun |  |  |  | Cindy Ngoh
FID7096 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 1 | 01 | MR 1-5 |  | 2022-02-03 10:15:16 | 2022-02-03 11:03:52 | 2022-02-03 11:04:09 | 2022-02-03 11:05:13 | 2022-02-03 11:05:31 | 2022-02-03 11:06:16 | Cindy Ngoh | T5 28w 3 nos replaced | [8 empty] | Cindy Ngoh
FID7095 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 5 | 13 | Wing B |  | 2022-02-03 10:06:37 | 2022-02-03 17:08:29 | 2022-02-03 17:08:45 | 2022-02-03 17:09:00 | 2022-02-03 17:09:16 | 2022-02-03 17:09:51 | Cindy Ngoh | exit lights replaced done | [8 empty] | Cindy Ngoh
FID7089 | Electrical | Light Fitting | Flickering / Blown | Localised to room | Connection One | Tower 1 | 21 | Wing A |  | 2022-02-03 09:55:12 | 2022-02-03 09:56:45 | 2022-02-03 09:56:59 | 2022-02-03 09:57:21 | 2022-02-03 09:57:38 | 2022-02-03 09:57:55 | Cindy Ngoh | UFO light replaced done. | [8 empty] | Cindy Ngoh
FID7084 | Electrical | Light Switches | Cracked / damaged | Affecting Public | Connection One | Tower 1 | 26 | Wing A - Entrance Area |  | 2022-02-03 09:40:46 | 2022-02-03 09:41:05 | 2022-02-03 09:41:19 | 2022-02-03 09:41:33 | 2022-02-03 09:41:47 | 2022-02-03 09:42:03 | Cindy Ngoh | replaced 3 gang switch done | [8 empty] | Cindy Ngoh
FID7081 | Electrical | Light Fitting | Tripped / Short-Circuit / Overloaded | Localised to room | Connection One | Tower 1 | 23 | Wing B |  | 2022-02-03 09:08:01 | 2022-02-03 09:08:50 | 2022-02-03 09:09:42 | 2022-02-03 09:09:55 | 2022-02-03 09:10:10 | 2022-02-03 09:10:31 | Cindy Ngoh | RCCB Reset back to normal |  |  |  |  | Siti Zahidah Binte Wagiman |  | 6248 1173 |  | Cindy Ngoh